## Risk Assessment for Glasgow Meeting House – September 2008

| ### Hazard | ### People at Risk | ### Current Action | ### Action planned | By who? | By when? | ### Done |
| --- | --- | --- | --- | --- | --- | --- |
| # Slips, trips and falls | Users of the Meeting House and car park especially visually impaired, may suffer injuries, if they slip on wet surfaces or trip over objects or uneven surface | Each week Meeting House is cleaned when building not in use. Visual inspection of building, keeping passageways free of obstructions Spill clear up cloths under all sinks for ease of use Twice yearly spring clean, and tidy up. Car park swept and tidied regularly. | Car park surface monitored. | Premises cttee | Part of annual check |  |
| Meeting Room front windows | Those opening or closing windows | Windows only opened by group leaders aware of risk | Notices on windows warning of danger | Warden | End Oct |  |
| Hazardous Substances | Those using special cleaning materials | Domestic products used Stocks kept in locked cupboard Rubber gloves provided | Lock cupboard N in basement when children are using LG | Barbara | From Oct 08 |  |
| Fire | All building users and staff | See separate risk assessment file | Pressure wash metal fire escape stairs | Premises | Apr 09 |  |
| Furniture moving | Staff and building users | Remind staff and users that they should only move or lift what they feel comfortable with | Replace ferrules on chair legs | Warden | End 2008 |  |
| Electricity | All users of building | 5 yearly fixed wiring inspection PAT testing every second year All work by qualified tradesmen Safety plugs in chilren’s rooms | Remind users that electrical equipment that they bring should be maintained and tested | Warden | End 2008 |  |
| Electric circuit breaker cupboard not secure | Users of building | Cupboard is not easy to get to, leaflet rack placed in front obscuring access | Suggest to Premises Committee that doors could have cupboard locks fitted | Warden | End 2008 |  |
| Electric meter cupboard | Users of building | Cupboard in inaccessible behind hall table | No further action |  |  |  |
| Radiation | Users of microwave oven | None, oven is little used | Suggest to Premises Committee that it should be checked every second year with the PAT test | Warden | End 2008 |  |
| Violence | Warden on duty | Staff awareness | No further action |  |  |  |
| Lift | Users of lift, trapped if lift fails between floors. | Regular maintenance contract | Continue maintenance contract | Premises | annual |  |
| Working at height Eg changing light bulbs, accessing loft spaces | Staff and volunteers | Annual inspection of ladders Ladder use policy | Dispose of unsuitable ladders Print HSE ladder use guide, make available to staff and volunteers | Norman | End 2008 |  |
| Hot radiators | Users of building, especially children | Children kept under supervision, radiators sheilded by chairs in room used as creche | Investigate radiator covers for room most used by children | Warden/ Premises | End 2008 |  |
| Stress | Staff | Support group for warden Regular meetings with assistant Debrief phone calls for deputes | Trustees are looking at review of warden’s duties | Trustees |  |  |
| Lone person working | Staff | Lone person working policy | Review policy annually | W&L | March |  |
| Asbestos | Only poses a risk if asbestos containing plaster is drilled by workmen | Notices warning of asbestos in plaster posted round building | No further action |  |  |  |
| Stored equipment | Users of building | Tool cupboard, lift plant room kept locked and tv/video/dvd trolley kept in locked cupboard | No further action |  |  |  |
| Kitchen areas | Users of kitchen facilities | Cookers turned off at wall when not in use, hot water temperature regulated, electrical appliances tested every second year | No further action |  |  |  |
| Gas cookers and boilers | Kitchen users/users of building | Gas appliances maintained annually Cookers cleaned regularly | Gas shut off points identified and notices placed near appliances | Warden | Nov 08 |  |